GAS AND WATER REPORT

BY SUPT. OF PUBLIC WORKS – MICHAEL BENNETT

April 15, 2021 through May 13, 2021

In the Water Department:

- Changed meters.

- Worked on repairs.

- Took routine water samples.

- Changed daily totalizer chart.

- Calculated daily usage.

- Took chlorine residuals.

- Swept and mopped water plant.

- Had water break on Delanois St on a 4” main.

- Problem with telemetry monitoring screen.

In the Gas Department:

- Changed meters.

- Worked on repairs.

- Changed daily high/low charts.

- Checked odorizer daily.

- Patrolled gas system.

- Took odorant readings.

In Other Business:

- Mowed grass and put weed killer down.

- Had a Department of labor OSHA inspection.  Inspector checked city hall village garage three gas houses water plant pole barn and two storage facilities.  Found gas acetylene tanks not secured.  This was taken care of while he was here.  Found gasoline containers at village garage not DOT approved. Containers have been replaced. Last item was fire extinguishers 30 days overdue from last year’s inspection. These were at all city buildings. All extinguishers have been inspected. No violations.

JU L I E CALLS 	_38_			 Gas & Water Work orders _9__

Water Work Orders	_16_	          		 Odor Calls  			_2__

Gas Work Orders     _5__                      	 CO Calls			_0__