Public Works Director Report

BY SUPERINTENDENT – MICHAEL BENNETT

February 11, 2021 through March 11, 2021

In the Water Department:

- Changed meters.

- Worked on repairs.

- Took routine water samples.

- Changed daily totalizer chart.

- Calculated daily usage.

- Took chlorine residuals.

- Swept and mopped water plant.

- Tamped all water excavation holes.

- Had water break on E. Kelly near Shaw St. on a 4” main.

- Had water break on Virginia St. on a 4” main.

- Had water break on Kentucky St. on a 4” main.

- Water leak on service line, curb stop at 216 Victor repaired & installed new shut off.

- Worked on Risk Resilient Assessment Plan for water

In the Gas Department:

- Changed meters.

- Worked on repairs.

- Changed daily high/low charts.

- Checked odorizer daily.

- Patrolled gas system.

- Took odorant readings.

- Installed a gas service at 302 Vermont.

- Had operator qualification training in Sullivan on pressure testing and regulators.

In Other Business:

- Replaced roof 1973 water plant (B & B Construction.

- Maintenance to backhoe & ditcher (greased & checked fluids)

- Had training with IMLF on confined space & trenching & shoring.

- Replaced sideboards on F-700 Dump truck

- Met with Village engineer. Looked at water lines & casing for two customers on E. Kelly at creek crossing. Will have to do something with this. Froze up this winter due to line exposed in creek.

- Replaced main office server, backup system and hard drive as well as the hard drive for Sarah’s computer.

- Shut off gas and water March 11 and will be shutting off gas and water for nonpayment.

JU L I E CALLS 	__24__             	Gas & Water Work orders _12___

Water Work Orders __36__                	Odor Calls   ___2__

Gas Work Orders  __15____                  	CO Calls     ___0___